## Slide 1: Smart Wireless Ag Sensors for the Measurement of Soil Water Contents
Team: sdmay18-38
Advisor: Dr. Dong
Client: Iowa State University

## Slide 2: Problem Statement
Fertilizer is the largest cost for a farmer
Current Method: Take a sample of their soil and send it to soil analysis company for results.
Problems:
    Can takes weeks to receive results
    Inconvenient process of soil testing

## Slide 3: Current Design
Features:
  Long term deployment
  Periodic measurements
  Solar charging

## Slide 4: Functional Requirements
Reduce size
Device will need to run off a coin cell battery for 15-20 mins.
Takes accurate measurements of phosphate/nitrogen/potassium concentration
Waterproof

## Slide 5: Non-functional Requirements
Easy to navigate software interface
Efficient networking
Reasonably priced

## Slide 6: Our Improvements
  Improvements
  Sensor data acquisition device (control box)
  Sensor design
  Mobile application

## Slide 7: Sensor Design: Current
Silver Strips
  Working electrode (left)
  Reference electrode (right)
Copper solder pads

## Slide 8: Sensor Design: Current Problems

## Slide 9: Sensor Design: New

## Slide 10: Sensor Data Acquisition Box
Three main components:
  Battery
  Circuit
    Voltage Booster
  Microcontroller

## Slide 11: Battery
3.7V Lithium Ion Battery
  Purchased from Adafruit
Goal: Reduce size

## Slide 12: Circuit
Given to us, just want to reduce size
Captures voltage potential between sensors and transmits to microcontroller
Created new design in Multisim and NI Ultiboard

## Slide 13: Our New Design
Reduce the size
Design PCB to be two sided
Incorporate power booster onto PCB

## Slide 14: Microcontroller
Adafruit Feather 32u4
Benefits:
  Small
  Low power consumption
Aids in data transmission
Requested by our client

## Slide 15: Mobile Application
Graph trending data
Store sensor readings to web
Connect via LE Bluetooth
Android

## Slide 16: Server Components
Data storage
Analytics
User portal
Administration tools

## Slide 17: Enclosure Design
Durable
Waterproof
Easy to carry
Ergonomic handheld design

## Slide 18: Testing
Two stages
  A) Lab calibration for sensors
    Testing chambers
  B) System measurements
    greenhouse

## Slide 19: Timeline

## Slide 20: Questions?